## Inspection Scope
Living Room & Ingleook
| doors | replace 1x cracked bevel glass? pane front porch entry door
| floor | demo carpet & pad, possible floor repair @ location of metal HVAC return grate; sand?, screen, top coat
| ceiling | 9' good condition, pattern texture same as entry, falling in one place needs plaster washers in future; paint as-is
| ceiling | inglenook ceiling good condition; paint as-is
| walls | minor repair @ S windows, entry doorway arch, inglenook doorway arch; patch, paint
| trim | stained, good condition; TLC w/Old Gold
| built-in | stained, good condition; TLC w/Old Gold
| electrical | 2x sw sconces @ entry doorway arch, 2x sw sconces @ inglenook doorway arch, ceiling light; replace 4x sconces, 1x ceiling light
| windows | stained, good condition, storms; TLC w/Old Gold
Dining Room
| walls | minor patch, paint
| floor | finished strip oak, good condition, sags toward N wall; screen, top coat
| trim | stained, good condition; TLC w/Old Gold
| windows | stained, good condition, storms; TLC w/Old Gold
| built-in | water stains @ back of cabinet, presumed leak @ flat tin roof; TLC w/Old Gold, replace cracked bevel mirror 12x48?
| electrical | 1x ceiling fan/light sw @ kitchen door; replace switch, ceiling light
| ceiling | 9', no texture, good condition; repair crack @ bump-out, paint
Kitchen/Side Entry
| floor | demo vinyl tile, underlayment, VCT; float floor; new sheet covering
| appliances | gas stove, refrigerator
| cabinets | replace cabinets; SS units?; 8'-3" sink wall run, 5'-2" DR wall run
| ceiling | 9', bad texture; scrape, paint or new drywall?
| windows | painted, good condition, storms
| doors | painted, good condition
| doors | 32" side entry door very poor condition, 4x cracked panes, does not open; repair or replace?
| electrical | 1x sink ceiling light sw @ door, 2x sw keyless ceiling lights, 1x outlet N wall, 2x outlet S wall; add outlets
| HVAC | 1x floor supply register 12x14
| walls | N-S 14'-3-1/4"; E-W 11'-8-3/4"
| walls | N 2x window @ E side near basement door, outlet
| walls | E 30" basement door, 99" clear to corner (sink wall)
| walls | S 64" clear, 14" HVAC register, 32" DR doorway, 49" clear (gas/stove wall, outlet)
| walls | W 33" clear, 35" window, 5" wall, 24" window, 32" back entry door
Entry, Stairwell & Landing, Hall
entry | floor | demo carpet & pad
entry | ceiling | 9', pattern texture same as LR difficult to match; crude access panel & water damage below bathroom; scrape?, patch, paint
entry | HVAC | replace new style floor supply register with matching vintage 14x16
entry | electrical | 3x sw @ side entry door, 1x LR ceiling light, 1x 3w entry ceiling light, 1x taped?; replace switches & ceiling fixture
entry | electrical | 2x sw @ bottom of stair, 1x 3w landing ceiling light, 1x 3w hall ceiling light; replace switches
entry | walls | previous repair @ location of electrical work @ baseboard; demo, patch, paint
stairwell & landing | walls | minor cracking, etc., minor water damage @ N window; patch, paint
stairwell & landing | windows | stained, good condition; TLC w/Old Gold, replace 1x cracked pane
stairwell & landing | trim | stained, good condition; repair loose bannister/ledger
stairwell & landing | electrical | 2x sw sconces, 1x bottom, 1x top; 2x blank boxes @ landing; replace landing sconces?
stairwell & landing | floor | demo carpet & pad
stairwell & landing | ceiling | bad texture, loose plaster; previous repair @ locations of water damage @ N window; scrape, patch, paint
hall | electrical | 3x sw, 1x 3w entry ceiling light, 1x 3w landing ceiling light, 1x 3w hall ceiling light; replace switches
hall | structure | previous 4x8 repair E stairwell/hall wall, termites?, poorly framed due to chimney?; demo patch to investigate?, patch, paint
hall | walls | loose painted paper; scrape as possible, patch, paint
hall | ceiling | 9' loose painted paper; scrape as possible, patch, paint
hall | floor | sags toward E wall, noticeable hump in floor @ hall/stairwell closet; finished strip oak; screen, top coat
E Bedroom
| ceiling | good condition; paint as-is
| electrical | 2x sw sconces, 1x ceiling light sw @ door
| floor | finished strip oak; closet floor needs TLC; screen, top coat
| windows | painted, good condition, storms
| doors | replace closet door panel; repair hammered (locks) BR door & casing
| HVAC | 2x floor supply registers, 1x center E wall (under baseboard…?), 1x SW corner
| built-in | painted, good condition, replace cabinet door knobs/latches
| structure | S wall settling/falling toward SW corner of room, also visible in bathroom cabinet/closet, framing HVAC chop?, shore in basement
SW Bedroom
| floor | finished strip oak; pet/pee damage; scrape old pad; screen, top coat
| electrical | 1x sw sconce bath wall, 1x ceiling light sw @ door; replace ceiling fixture
| electrical | 2x Wiremold outlets; add Wiremold outlets?
| HVAC | wall supply register @ back of bath wall supply
| doors | roof deck door does not open, hammered
| roof | flat tin roof over DR W bump-out is shot
| ceiling | loose painted paper; scrape as possible, patch, paint
| walls | loose painted paper; scrape as possible, patch, paint
| closet | 16" deep, no hangers!
NW Bedroom
| walls | serious damage @ wall above closet, below W window; demo, patch, paint
| doors | replace BR door panels (plywood paneling); replace door?
| HVAC | 1x wall supply register
| electrical | 1x sw sconce bath wall, 1x ceiling light sw @ door; replace ceiling fixture
| electrical | 2x Wiremold outlets; add Wiremold outlets?
| closet | 16" deep, no hangers!
| floor | unfinished strip oak; paint spill damage; scrape old pad; sand, screen, top coat
| ceiling | painted paper, good condition; demo poor repair @ ceiling light, patch, paint
Bathroom
| walls | painted plastic tile wainscoting; demo, patch, paint; sand texture elsewhere; scrape, patch, paint
| HVAC | 1x wall supply register W side behind door
| electrical | 1x ceiling light sw @ door in hall; outlets?
| cabinet/closet | wall & ceiling damage; demo, patch, paint; medicine cabinet/mirror good condition
| floor | demo vinyl, VCT; float floor; new sheet covering
| ceiling | sand texture loose in spots; scrape, patch paint
| plumbing | sink is cast iron Crane style, valves shot; sink drain S-trap; replace 5 gallon toilet; tub valves shot; no shower; tub drain no trap
Attic
| structure | 2x4 rafters; demo fiberglass batt insulation falling, poorly affixed w/ vinyl sheet & staples?
| windows | replace 2x panes @ N landing windows, 3x panes @ E windows, 2x panes @ W windows
| walls | peeling paint @ stairwell; scrape, paint; wall damage @ attic door, water damage @ window; demo, patch paint
| doors | replace attic door hinge
| roof | inspect chimney flashing
| floor | old linoleum in room
| HVAC | 1x wall supply register
| electrical | 1x ceiling light sw @ door, very old K&T fixtures & fittings
Basement
| structure | 3x lally columns; check load-bearing wall @ W crawl/basement divide
| structure | check bearing @ location of framing HVAC chop
| structure | evidence of previous minor termite damage; treat for termites
| structure | replace missing? sill plate @ side entry door?
| electrical | cleanup; repair air-splices
| electrical | 2x? ceiling lights sw @ top of basement stairs; no side entry door/basement landing ceiling light
| plumbing | demo utility sink, shower?, toilet?
| plumbing | replace CPVC w/PEX; replace HW heater?
| HVAC | inspect & seal ductwork
| demo | old furnace, old heater, old oil tank, concrete, shingles, other garbage?